## Prosthesis Fields - Stem
Hip Prosthesis Data - Stem
Prosthesis details (complete a separate page for each variant if several hip stems share the same brand name)
Manufacturer
UK Distributor (if different)
Stem brand (and variant if applicable)
Product Codes and Sizes | Please provide on a separate sheet detailing individual product numbers and descriptions in Excel format
Date of original submission of form
Date of change (if form is updated)
Technical design features
Fixation |  | cemented
cementless
Modularity |  | monobloc head
modular head
modular neck
Femoral stem and head(s). Material(s), finish, sizes and technical design features.
Compatible Acetabular cups and liners.
Stem design history
Date of first clinical use
Date of CE mark
Date of first clinical use in UK
Have any design changes been made? |  | No Yes
If yes, please give details and dates of modifications | 1
2
3
Please confirm that all data submitted relates to the latest design
Yes
No |  | Please give justification if No
Benchmark claimed (select from dropdown list)
Beyond Compliance Product
Please attach a list of UK implanting centres
Is the clinical data submitted for this stem representative of the results of all studies conducted in relation to it? |  | Yes
No
Please give details of, and reasons for, data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
Note on A9: A submission and subsequent rating will be based upon the product codes provided. Addition of any further products to the benchmark range will need approval by ODEP and may require a separate submission

## Prosthesis Fields - Cup
Hip Prosthesis Data - Cup
Prosthesis details (complete a separate page for each variant if several hip cups share the same brand name)
Manufacturer
UK Distributor (if different)
Cup brand (and variant if applicable)
Product Codes and Sizes | Please provide on a separate sheet detailing individual product numbers and descriptions in Excel format
Date of original submission of form
Date of change (if form is updated)
Technical design features
Fixation |  | cemented
cementless
Modularity |  | monobloc
modular
Acetabular cups and liners. Material(s), finish, sizes and technical design features.
Compatible Femoral stem and head(s)
Cup design history
Date of first clinical use
Date of CE mark
Date of first clinical use in UK
Have any design changes been made? |  | No Yes
If yes, please give details and date of modification | 1
2
3
Please confirm that all data submitted relates to the latest design
Yes
No |  | Please give justification if No
Benchmark Claimed (select from dropdown list)
Beyond Compliance Product
Please attach a list of UK implanting centres
Is the clinical data submitted for this Cup representative of the results of all studies conducted in relation to it? |  | Yes
No
Please give details of, and reasons for data that has been omitted that does not indicate similar or better results than that submitted on the attached Clinical Data Templates
Note on A9: A submission and subsequent rating will be based upon the product codes provided. Addition of any further products to the benchmark range will need approval by ODEP and may require a separate submission

## Clinical data sheet 1
[5 empty] | Years | #N/A | 3 | 5 | 7 | 10 | 13
Reference Type |  | Reference: |  |  | Offset | #N/A
Peer reviewed publication |  | Please insert full details of the reference source |  |  |  | Criteria |  |  | Meets criteria
Conference presentation/poster |  |  |  |  | Criteria - Total Hip Replacement | A* | A | B | #N/A | #N/A | #N/A | Unsatisfactory | Incomplete | Reason
Data available for peer review | [12 empty] | TRUE | Product type
Registry data | [12 empty] | TRUE | Kaplan Meier survival time
[5 empty] | Minimum number of centres outside development centre(s) | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number of centres
Cohort Prosthesis Details |  |  |  |  | Minimum number of surgeons outside of the development centre | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number of surgeons
Product Type (Stem or Cup) | [8 empty] | #N/A | #N/A | #N/A | #N/A | TRUE
STEM brand(s) and variant, if applicable |  |  |  |  | Minimum total cohort | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Total number of hips
HEAD brand(s) and variant, if applicable |  |  |  |  | Minimum at risk at benchmark time | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | TRUE | Number ar risk at benchmark time
CUP brand(s) and variant, if applicable |  |  |  |  | Max Component upper 95% CI |  |  |  | #N/A | #N/A | #N/A | #N/A | TRUE | 95% upper confidence limit
LINER brand(s) and variant, if applicable |  |  |  |  | Max Component lower 95% CI |  |  |  | #N/A | #N/A | #N/A | #N/A | TRUE | 95% lower confidence limit
Clinical Study Details | Total Cohort |  |  | Comments: | Max Stem upper 95% CI | #N/A | #N/A | 100% | #N/A | #N/A | #N/A | #N/A
Number of centres |  |  |  | Please give justification for any cells left blank and provide explanatory comments | Max Stem lower 95% CI | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Number of surgeons implanting |  |  |  |  | Max Cup upper 95% CI | #N/A | #N/A | 100% | #N/A | #N/A | #N/A | #N/A
Is the study by product developer (designer surgeon)? |  |  |  |  | Max Cup lower 95% CI | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
if yes, please provide details of the study in the comments box
[5 empty] | Rating | Incomplete |  |  | #N/A | #N/A | #N/A | #N/A | TRUE | : Product type missing
Clinical Study Design (please select from dropdown list)
[5 empty] | Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A* | 13A*
[5 empty] | Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3 | 3
Patients and Clinical Results (all implants in study) |  |  |  |  | Minium number of surgeons outside of development centre(s) | 3 | 3 | 3 | 3 | 3
Total number of patients |  |  |  |  | Minimum total cohort | 150 | 250 | 350 | 500 | 500
Number of males (%) |  |  |  |  | Minimum at risk at benchmark time | 150 | 225 | 300 | 400 | 400
Number of females (%) |  |  |  |  | Maximum revision rate ‡ | 3% | 3.5% | 4% | 5% | 6.5%
Mean age of patients and range (years)
[5 empty] | Criteria - A Ratings | 3A | 5A | 7A | 10A | 13A
Diagnosis: |  |  |  |  | Minimum number of centres and surgeons | 3 | 3 | 3 | 3 | 3
OA |  |  |  |  | Minimum total cohort | 150 | 250 | 350 | 500 | 500
RA |  |  |  |  | Minimum at risk at benchmark time | 72 | 66 | 60 | 51 | 42
Other |  |  |  |  | Maximum revision rate ‡ | 5% | 5.5% | 6% | 7% | 8.5%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Total number of hips in study
Number of implants lost due to patients death: |  |  |  |  | Criteria - B Ratings | 3B | 5B | 7B | 10B | 13B
(explain death rate if above 35% in comments box) |  |  |  |  | Minimum number of centres and surgeons | 1 | 1 | 1 | 1 | 1
Number of implants lost to follow-up |  |  |  |  | Minimum total cohort | 100 | 100 | 100 | 100 | 100
Number of implants revised for any reason |  |  |  |  | Minimum at risk at benchmark time | 40 | 40 | 40 | 40 | 40
Number of implants surviving at end of study |  |  |  |  | Maximum value of 95% lower confidence limit for revision rate | 3% | 3.5% | 4% | 5% | 6.5%
Number of patients examined in person
Number of patients examined by questionnaire/telephone review
Mean follow-up and range (years) of implants in full cohort |  |  |  |  | Randomised Controlled Trial
Comparative study
Unselected consecutive cohort
Reasons for revision in full cohort | Number | Percentage |  |  | Selected cohort
Infection |  |  |  |  | National registry
Pain |  |  |  |  | Hospital Registry
Recurrent dislocation |  |  |  |  | Company database
Fracture |  |  |  |  | Other Registry or database (please describe in comments box)
Malposition/malalignment
Aseptic loosening
Wear
Other
Kaplan-Meier Survivorship
Kaplan Meier survival time in years
Number of hips remaining at risk at Kaplan Meier survival time
| Revision Rate | 95% Confidence Interval
Cumulative Revision Rate (1 - Survival) |  | Lower CI | Upper CI
All failure modes - any component revised (%)
All failure modes - stem revised(%)
All failure modes - cup revised (%)
Provisionally meets critera for rating: | Incomplete: Product type missing
Yes
No
Note on C28: Please ensure that the range is detailed.
Note on C44: Please ensure that the range is entered

## Rating System
Criteria - Total Hip Replacement
Criteria - A* Ratings | 3A* | 5A* | 7A* | 10A* | 13A*
Minimum number of centres outside development centre(s) | 3 | 3 | 3 | 3 | 3
Minium number of surgeons outside of development centre(s) | 3 | 3 | 3 | 3 | 3
Minimum total cohort | 150 | 250 | 350 | 500 | 500
Minimum at risk at benchmark time | 150 | 225 | 300 | 400 | 400
Maximum revision rate ‡ | 3% | 3.5% | 4% | 5% | 6.5%
Criteria - A Ratings | 3A | 5A | 7A | 10A | 13A
Minimum number of centres and surgeons | 3 | 3 | 3 | 3 | 3
Minimum total cohort | 150 | 250 | 350 | 500 | 500
Minimum at risk at benchmark time | 72 | 66 | 60 | 51 | 42
Maximum revision rate ‡ | 5% | 5.5% | 6% | 7% | 8.5%
‡ The upper 95% confidence interval for KM revision rate (1 - Survival) must be lower than the specified level
Criteria - B Ratings | 3B | 5B | 7B | 10B | 13B
Minimum number of centres and surgeons | 1 | 1 | 1 | 1 | 1
Minimum total cohort | 100 | 100 | 100 | 100 | 100
Minimum at risk at benchmark time | 40 | 40 | 40 | 40 | 40
Maximum value of 95% lower confidence limit for revision rate | 3% | 3.5% | 4% | 5% | 6.5%
Pre-Entry A* | Pre-Entry
Product launched under Beyond Compliance | Products registered with NJR. All primaries and revisions monitored via supplier feedback.

## Post Market clinical follow-up
The following information is required for all studies (published or unpublished) initiated by the manufacturer for all products applied for all benchmarks
Prosthesis | Implanting centres | Number of surgeons | Cohort size | Methodology of study

## Product codes
Product code listing
® Please only include the product codes relating to the construct being submitted, to ensure that ratings can be tracked by product code as well as brand.
® This information needs to be provided in the table form below and a separate code for each size (no ranges)
Supplier | Product Brand/Name | Product Description | Product Code | Component | Fixation

## UK Implanting Centres
Please use this sheet to list all UK centres that are implanting the brand family and variant you are submitting
Centre Name (required) | Number implanted over previous 12 month period (Optional)
| Full brand family | Brand Variant under submission

## Guidance notes
Guidance notes
Ratings are in line with the ODEP ratings system shown on the ratings system tab
1 | Complete EITHER "Prosthesis Fields - Stem" OR "Prosthesis Fields - Cup" as appropriate
2 | Each submission should represent an individual product i.e. no mixed cohorts.
3 | Where there is a brand family, each variant should be treated as a different product and a separate submission is required
4 | Submissions for products where the design has changed should only include data for the current variant.
5 | A* ratings will only be awarded where ALL requested data fields are completed in full on ALL sheets.
6 | Each clinical reference requires a separate clinical data sheet to be submitted
Data submitted must be representative of all data available. Any variation should be highlighted on the Prosthesis Fields tab